## Sheet1
Single Point Accuracy Test (Spat)
Date of test |  | Test Results
Time of test
Microscribe Modle |  | Test 1 | 0.00000
Serial Number |  | Test 2 | 0.00000
Firmware Version |  | Test 3 | 0.00000
Driver Version |  | Test 4 | 0.00000 | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
Mus set to? |  | Test 5 | 0.00000
Master tip installed |  | Test 6 | 0.00000
Mus set to defualt tip |  | Test 7 | 0.00000
|  | Test 8 | 0.00000
Observations: 1.10 measurements |  | Test 9 | 0.00000
|  | Test 10 | 0.00000
|  | Average | 0
Specification | MX | MLX
| 0.004 | 0.005 |  |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000 |  | 0.00000 | 0.00000 | 0.00000
|  |  |  | Dev |  |  | 3-D Dev |  |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev | Dev |  |  | 3-D Dev
Mean: 1. Average coordinate (sample mean) of the 10 measurements. |  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
Deviation from Mean: 2. Distance from each measurement to the average coordinate. |  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000 | 0.00000
|  |  |  | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000 | 0.0000
Std Dev.
2 X Std Dev: 3. Twice the standard deviation (2*sspat ) |  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
|  |  |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000 |  | 0.00000000 | 0.00000000 | 0.00000000
[6 empty] | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000 |  |  |  | 0.00000
Single Point Cone Test Bitmap The B89.4.22 draft document refers to this test as the “Single Point Articulation Performance Test Using a Hard Probe.” This test is intended to assess the arm's ability to provide similar values of a point coordinate. In it the ball probe attached to the device is placed in a conical hole, or kinematic seat, and ten values are taken while the arm is articulated through a broad range of motion. The measurements are repeated in ten different positions throughout the workspace. At each location the following calculations are performed:
1. Average coordinate (sample mean) of the 10 measurements.
2. Distance from each measurement to the average coordinate.
3. Twice the standard deviation (2*sspat )
The SPAT performance reports the sspat at the location with the highest result from calculation 3.
Test 1
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 2 ( repeat of test 1)
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 3
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 4
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 5
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 6
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 7
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 8
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 9
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .
Test 10
Place mouse curser on green box .
Place the probe tip in a fixed conical divot and take 10 points while exercising the Microscribe .